花岗石方尺        granite square rulers

Product Application:

1. Mainly used as installation and inspection of machine tools, inspect Vertical degree, parallelism and straightness of guidance and precision component in modern industry and scientific research institutes. We are able to manufacture the Granite Surface Plate with the good and stable flatness according to standard of DIN/JIS/GB.

Specifications :

| specification model | squareness between adjacent measuring surfaces |  | straightness of measuring surface |  | parallelism between opposite measuring surfaces |  | overall dimension(mm) | weight/unit(kg) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | precision grade(µm) |  |  |  |  |  |  |  |
|  | 00 | 0 | 00 | 0 | 00 | 0 |  |  |
| SF200 | 2 | 4 | 0.9 | 1.8 | 2 | 4 | 200×200×35 | 4.4 |
| SF250 | 2.2 | 4.5 | 1 | 2 | 2.2 | 4.5 | 250×250×40 | 7.15 |
| SF315 | 2.6 | 5.2 | 1.1 | 2.3 | 2.6 | 5.2 | 315×315×45 | 12.2 |
| SF400 | 3 | 6 | 1.3 | 2.6 | 3 | 6 | 400×400×45 | 17.4 |
| SF400A | 3 | 6 | 1.3 | 2.6 | 3 | 6 | 400×200×40 | 7.6 |
| SF500 | 3.5 | 7 | 1.5 | 3 | 3.5 | 7 | 500×500×60 | 50.1 |